# Appendix B.  Hf isotopic data from the Chugach-Prince William terrane, Alaska.

# Analytical methods at the Arizona LaserChron Center

Hf isotope analyses are conducted with a Nu HR ICPMS connected to a New Wave UP193HE laser (2009-2010) or a Photon Machines Analyte G2 excimer laser (2011).  Instrument settings are established first by analysis of 10 ppb solutions of JMC475 and a Spex Hf solution, and then by analysis of 10 ppb solutions containing Spex Hf, Yb, and Lu.  The mixtures range in concentration of Yb and Lu, with 176(Yb+Lu) up to 70% of the 176Hf.  When all solutions yield 176Hf/177Hf of ~0.28216, instrument settings are optimized for laser ablation analyses and seven different standard zircons (Mud Tank, 91500, Temora, R33, FC52, Plesovice, and Sri Lanka) are analyzed.  These standards are included with unknowns on the same epoxy mounts.  When precision and accuracy are acceptable, unknowns are analyzed using exactly the same acquisition parameters.

Laser ablation analyses are conducted with a laser beam diameter of 40 microns, with the ablation pits located on top of the U-Pb analysis pits.  CL images are used to ensure that the ablation pits do not overlap multiple age domains or inclusions.  Each acquisition consists of one 40-second integration on backgrounds (on peaks with no laser firing) followed by 60 one-second integrations with the laser firing.  Using a typical laser fluence of ~5 J/cm2 and pulse rate of 7 hz, the ablation rate is ~0.8 microns per second.  Each standard is analyzed once for every ~20 unknowns.

Isotope fractionation is accounted for using the method of Woodhead et al. (2004): Hf is determined from the measured 179Hf/177Hf; Yb is determined from the measured 173Yb/171Yb (except for very low Yb signals); Lu is assumed to be the same as Yb; and an exponential formula is used for fractionation correction.  Yb and Lu interferences are corrected by measurement of 176Yb/171Yb and 176Lu/175Lu (respectively), as advocated by Woodhead et al. (2004).  Critical isotope ratios are 179Hf/177Hf =0.73250 (Patchett & Tatsumoto, 1980); 173Yb/171Yb = 1.132338 (Vervoort et al. 2004); 176Yb/171Yb =0.901691 (Vervoort et al., 2004; Amelin and Davis, 2005); 176Lu/175Lu = 0.02653 (Patchett, 1983).  All corrections are done line-by-line.  For very low Yb signals, Hf is used for fractionation of Yb isotopes.  The corrected 176Hf/177Hf values are filtered for outliers (2-sigma filter), and the average and standard error are calculated from the resulting ~58 integrations.  There is no capability to use only a portion of the acquired data.

All solutions, standards, and unknowns analyzed during a session are reduced together.  The cutoff for using Hf versus Yb is determined by monitoring the average offset of the standards from their known values, and the cutoff is set at the minimum offset.  For most data sets, this is achieved at ~6 mv of 171Yb.  For sessions in which the standards yield 176Hf/177Hf values that are shifted consistently from the know values, a correction factor is applied to the 176Hf/177Hf of all standards and unknowns.  This correction factor, which is not necessary for most sessions, averages 1 epsilon unit.

The 176Hf/177Hf at time of crystallization is calculated from measurement of present-day 176Hf/177Hf and 176Lu/177Hf, using the decay constant of 176Lu (λ = 1.867e-11) from Scherer et al. (2001) and Söderlund et al. (2004).  No capability is provided for calculating Hf Depleted Mantle model ages because the 176Hf/177Hf and 176Lu/177Hf of the source material(s) from which the zircon crystallized is not known.

Notes for Table B:

- Data reduction methodology is from Woodhead et al. (2004)

- Analytical methods described in detail by Gehrels and Pecha (2014)

- (176Yb + 176Lu) / 176Hf (%) expresses the proportion of 176 due to 176Yb + 176Lu versus the proportion due to 176Hf, in %.

- Volts Hf is the sum of voltages of all Hf isotopes.

- 176Hf/177Hf is the measured 176Hf/177Hf, corrected for fractionation and interfences. Shown with uncertainty expressed at 1-sigma.

- 176Lu/177Hf is the intensity of 176Lu, calculated from the measured instensity of 175Lu and 176Lu/175Lu=0.02653 (from Patchett, 1983), compared to the measured intensity of 177Hf.  Fractionation of Lu isotopes is assumed to be the same as fractionation of Yb isotopes.

- 176Hf/177Hf (T) is the 176Hf/177Hf corrected to the time of crystallization using a decay constant of 1.867e-11 (from Scherer et al., 2001 and Soderland et al., 2004)

- E-Hf (0) is the present-day epsilon Hf value using 176Hf/177Hf=0.282785 and 176Lu/177Hf=0.0336 (from Bouvier et al., 2008). The uncertainty is expressed at 1-sigma.

- E-Hf (T) is the epsilon Hf value at the time of crystallization. The uncertainty is expressed at 1-sigma.

- U-Pb ages are based on 206/238 for ages younger than ~1.0 Ga, and on 206/207 for ages older than ~1.0 Ga. This age cutoff may be slightly different for each sample.

- Isotope ratios as follows:			
180/177  1.8866600  Patchett (1983)

179/177  0.7325000  Patchett & Tatsumoto (1980)

178/177  1.4671800  Patchett (1983)

176/177  0.2821600  Patchett (1983)

174/177  0.0087100  Patchett (1983)

176/175  0.0265300  Patchett (1983)

176/171  0.9016910  Vervoort et al. (2004)

173/171  1.1323569  Vervoort et al. (2004)

172/171  1.5317360  Vervoort et al. (2004)

# References

Amelin, Y., and Davis, W.J., 2005, Geochemical test for branching decay of 176Lu: Geochimica et Cosmochimica Acta, v. 69, p. 465-473.

Bahlburg, H., Vervoort, J.D., and DuFrane, S.A., 2010, Plate tectonic significance of Middle Cambrian and Ordovician siliciclastic rocks of the Bavarian facies, Armorican terrane assemblage, Germany—U-Pb and Hf isotope evidence from detrital zircons: Gondwana Research, v. 17 (2-3), p. 223-235.

Bouvier, A., Vervoort, J., and Patchett, J., 2008, The Lu-Hf and Sm-Nd isotopic composiiton of CHUR: Consraints from unequilibrated chondrites and implications for the bulk composition of terrestrial planets: Earth and Planetary Science Letters: v. 273, p. 48-57.

Gehrels, G. and Pecha, M., 2014, Detrital zircon U-Pb geochronology and Hf isotope geochemistry of Paleozoic and Triassic passive margin strata of western North America: Geosphere, v. 10 (1), p. 49-65.

Patchett, P.J., 1983, Importance of the Lu-Hf isotopic system in studies of planetary chronology and chemical evolution: Geochimica and Cosmochimica Acta, v. 47, p. 81-91.

Patchett, P.J., and Tatsumoto, M., 1980, A routine high-precision method for Lu-Hf isotope geochemistry and chronology: Contributions to Mineralogy and Petrology, v. 75, 263-267.

Scherer, E., Münker, C., and Mezger, K., 2001, Calibration of the Lutetium-Hafnium Clock: Science, v. , p. 683–687.

Söderlund, U., Patchett, P.J., Vervoort, J.D., and Isachsen, C.E., 2004, The 176Lu decay constant determined by Lu-Hf and U-Pb isotope systematics of Precambrian mafic intrusions: Earth and Planetary Science Letters, v. 219, p. 311-324.

Vervoort, J.D., and Patchett, P.J., 1996, Behavior of hafnium and neodymium isotopes in the crust: constraints from Precambrian crustally derived granites: Geochimica et Cosmochimica Acta, v. 60, p. 3717-3723

Vervoort, J. D., and Blichert-Toft, J., 1999, Evolution of the depleted mantle: Hf isotope evidence from juvenile rocks through time: Geochimica et Cosmochimica Acta, v. 63, p. 533–556.

Vervoort, J.D., Patchett, P.J., Blichert-Toft, J., and Albarede, F., 1999, Relationships between Lu-Hf and Sm-Nd isotopic systems in the global sedimentary system: Earth and Planetary Science Letters, v. 168, p. 79-99.

Vervoort, J.D., Patchett, P.J., Soderlund, U., and Baker, M., 2004, Isotopic composition of Yb and the determination of Lu concentrations and Lu/Hf ratios by isotope dilution using MC-ICPMS: Geochemistry Geophysics Geosystems, v. 5, Q11002. (doi:10.1029/2004GC000721)

Vervoort, J.D., 2010, Hf analysis in zircon by LA-MC-ICPMS: Promise and pitfalls: Geological Society of America Abstracts with Programs, v. 42 (5), p. 667.

Wieser, M.E., 2006, Atomic weights of the elements 2005 (IUPAC Technical Report): Pure and Applied Chemistry, v. 78 (11), p. 2051–2066. doi:10.1351/pac200678112051

Woodhead, J., Hergt, J., Shelley, M., Eggins, S., and Kemp, R., 2004, Zircon Hf-isotope analysis with an excimer laser, depth profiling, ablation of complex geometries, and concomitant age estimation: Chemical Geology, v. 209, p. 121-135.

Woodhead, J.D., and Hergt, J.M., 2004, A preliminary appraisal of seven natural zircon reference materials for in situ Hf isotope determination: Geostandards and Geoanalytical Research, v. 29 (2), p. 183-195.

Table B.  Hf isotopic data from the Chugach-Prince William terrane, Alaska

| Sample | (176Yb + 176Lu) 176Hf (%) | Volts Hf | 176Hf 177Hf | ± (1) | 176Lu 177Hf | 176Hf 177Hf(t) |  Hf (0) |  Hf (0) ± (1) |  Hf (t) | Age (Ma) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample 11CD-60, Ghost Rocks Fm (57.43846, -152.73250) |  |  |  |  |  |  |  |  |  |  |
| 11CD-60PC-86 | 19.4 | 2.2 | 0.282165 | 0.000035 | 0.001063 | 0.282158 | -21.9 | 1.3 | -13.9 | 371 |
| 11CD-60PC-12 | 22.8 | 2.6 | 0.282413 | 0.000044 | 0.001667 | 0.282398 | -13.1 | 1.6 | -3.2 | 472 |
| 11CD-60PC-50 | 18.6 | 2.4 | 0.282184 | 0.000035 | 0.001049 | 0.282173 | -21.2 | 1.2 | -9.1 | 563 |
| 11CD-60PC-26 | 36.0 | 2.1 | 0.281811 | 0.000040 | 0.001924 | 0.281788 | -34.4 | 1.4 | -21.1 | 637 |
| 11CD-60PC-07 | 7.4 | 2.8 | 0.282135 | 0.000045 | 0.000551 | 0.282128 | -23.0 | 1.6 | -8.9 | 644 |
| 11CD-60PC-23 | 19.3 | 2.2 | 0.282248 | 0.000036 | 0.001348 | 0.282231 | -19.0 | 1.3 | -4.7 | 667 |
| 11CD-60PC-02 | 24.1 | 2.4 | 0.282477 | 0.000039 | 0.001197 | 0.282461 | -10.9 | 1.4 | 4.5 | 714 |
| 11CD-60PC-77 | 31.7 | 2.0 | 0.282235 | 0.000046 | 0.001594 | 0.282205 | -19.5 | 1.6 | 1.9 | 1003 |
| 11CD-60PC-13 | 10.9 | 2.4 | 0.282201 | 0.000040 | 0.000610 | 0.282189 | -20.6 | 1.4 | 2.2 | 1038 |
| 11CD-60PC-88 | 16.4 | 1.4 | 0.282102 | 0.000059 | 0.000778 | 0.282087 | -24.2 | 2.1 | -1.3 | 1046 |
| 11CD-60PC-59 | 12.1 | 1.7 | 0.281933 | 0.000051 | 0.000777 | 0.281914 | -30.1 | 1.8 | -2.6 | 1258 |
| 11CD-60PC-46 | 13.5 | 2.0 | 0.282226 | 0.000034 | 0.000786 | 0.282207 | -19.8 | 1.2 | 8.1 | 1270 |
| 11CD-60PC-04 | 31.5 | 2.1 | 0.282031 | 0.000047 | 0.001948 | 0.281982 | -26.7 | 1.7 | 1.7 | 1342 |
| 11CD-60PC-98 | 9.2 | 2.0 | 0.282092 | 0.000051 | 0.000611 | 0.282076 | -24.5 | 1.8 | 5.4 | 1354 |
| 11CD-60PC-29 | 10.4 | 2.2 | 0.281881 | 0.000045 | 0.000722 | 0.281861 | -32.0 | 1.6 | -0.6 | 1426 |
| 11CD-60PC-90 | 28.5 | 1.1 | 0.282291 | 0.000071 | 0.001819 | 0.282241 | -17.5 | 2.5 | 13.9 | 1473 |
| 11CD-60PC-63 | 15.4 | 2.3 | 0.282130 | 0.000048 | 0.000856 | 0.282105 | -23.2 | 1.7 | 10.0 | 1512 |
| 11CD-60PC-09 | 14.0 | 2.3 | 0.281964 | 0.000039 | 0.000852 | 0.281940 | -29.0 | 1.4 | 4.3 | 1521 |
| 11CD-60PC-76 | 14.8 | 1.8 | 0.281831 | 0.000069 | 0.000782 | 0.281807 | -33.7 | 2.5 | 2.4 | 1642 |
| 11CD-60PC-74 | 22.0 | 2.4 | 0.281912 | 0.000041 | 0.001300 | 0.281872 | -30.9 | 1.5 | 4.9 | 1652 |
| 11CD-60PC-39 | 20.9 | 2.2 | 0.281363 | 0.000033 | 0.001100 | 0.281327 | -50.3 | 1.2 | -12.8 | 1720 |
| 11CD-60PC-24 | 8.8 | 2.1 | 0.281804 | 0.000048 | 0.000518 | 0.281787 | -34.7 | 1.7 | 4.1 | 1745 |
| 11CD-60PC-99 | 7.9 | 2.4 | 0.281384 | 0.000043 | 0.000437 | 0.281369 | -49.5 | 1.5 | -8.7 | 1836 |
| 11CD-60PC-01 | 3.8 | 2.3 | 0.281539 | 0.000042 | 0.000201 | 0.281531 | -44.1 | 1.5 | -1.0 | 1920 |
| 11CD-60PC-95 | 10.7 | 1.2 | 0.280946 | 0.000050 | 0.000738 | 0.280918 | -65.0 | 1.8 | -20.7 | 2008 |
| 11CD-60PC-17 | 2.8 | 2.2 | 0.281354 | 0.000041 | 0.000166 | 0.281348 | -50.6 | 1.4 | -4.9 | 2032 |
| 11CD-60PC-73 | 24.2 | 2.3 | 0.281625 | 0.000033 | 0.001535 | 0.281563 | -41.0 | 1.2 | 4.7 | 2118 |
| 11CD-60PC-100 | 12.1 | 2.8 | 0.281341 | 0.000049 | 0.000732 | 0.281309 | -51.0 | 1.7 | 0.2 | 2312 |
| 11CD-60PC-33 | 10.2 | 2.1 | 0.281056 | 0.000040 | 0.000564 | 0.281029 | -61.1 | 1.4 | -3.7 | 2571 |
| 11CD-60PC-94 | 15.2 | 2.3 | 0.281097 | 0.000037 | 0.000909 | 0.281049 | -59.7 | 1.3 | 0.5 | 2721 |
| 11CD-60PC-20 | 6.1 | 2.0 | 0.281025 | 0.000040 | 0.000379 | 0.281004 | -62.3 | 1.4 | 0.9 | 2805 |
| 11CD-60PC-92 | 11.7 | 1.9 | 0.280805 | 0.000039 | 0.000735 | 0.280765 | -70.0 | 1.4 | -6.6 | 2846 |
| Sample 11HW-23, Orca Fm (60.5510, -148.4158) |  |  |  |  |  |  |  |  |  |  |
| 11HW-23-PC-77 | 5.8 | 2.4 | 0.282566 | 0.000044 | 0.000402 | 0.282563 | -7.7 | 1.5 | 0.6 | 379 |
| 11HW-23-PC-29 | 26.2 | 2.8 | 0.282356 | 0.000030 | 0.001524 | 0.282344 | -15.2 | 1.1 | -6.4 | 414 |
| 11HW-23-PC-63 | 35.1 | 3.2 | 0.282432 | 0.000032 | 0.001881 | 0.282417 | -12.5 | 1.1 | -3.6 | 423 |
| 11HW-23-PC-30 | 1.6 | 3.4 | 0.282313 | 0.000036 | 0.000087 | 0.282313 | -16.7 | 1.3 | -7.2 | 429 |
| 11HW-23-PC-13 | 14.1 | 2.6 | 0.282533 | 0.000041 | 0.001833 | 0.282517 | -8.9 | 1.5 | 0.6 | 453 |
| 11HW-23-PC-95 | 13.4 | 2.4 | 0.282211 | 0.000035 | 0.000985 | 0.282202 | -20.3 | 1.3 | -9.5 | 500 |
| 11HW-23-PC-94 | 18.0 | 2.5 | 0.282751 | 0.000033 | 0.001217 | 0.282738 | -1.2 | 1.2 | 11.0 | 566 |
| 11HW-23-PC-54 | 14.4 | 3.2 | 0.282439 | 0.000035 | 0.001053 | 0.282426 | -12.3 | 1.2 | 1.4 | 630 |
| 11HW-23-PC-67 | 17.0 | 3.6 | 0.282339 | 0.000031 | 0.001079 | 0.282325 | -15.8 | 1.1 | -0.6 | 702 |
| 11HW-23-PC-05 | 29.1 | 2.5 | 0.282555 | 0.000040 | 0.002244 | 0.282520 | -8.1 | 1.4 | 9.1 | 826 |
| 11HW-23-PC-39 | 4.9 | 3.0 | 0.282265 | 0.000034 | 0.000276 | 0.282260 | -18.4 | 1.2 | 4.6 | 1033 |
| 11HW-23-PC-08 | 4.5 | 3.4 | 0.282150 | 0.000037 | 0.000273 | 0.282145 | -22.4 | 1.3 | 1.2 | 1062 |
| 11HW-23-PC-60 | 22.9 | 2.2 | 0.282240 | 0.000032 | 0.001292 | 0.282212 | -19.3 | 1.1 | 5.7 | 1156 |
| 11HW-23-PC-88 | 10.1 | 3.8 | 0.282098 | 0.000035 | 0.000498 | 0.282087 | -24.3 | 1.2 | 1.3 | 1160 |
| 11HW-23-PC-02 | 23.9 | 2.7 | 0.281840 | 0.000041 | 0.001355 | 0.281805 | -33.4 | 1.5 | -4.2 | 1355 |
| 11HW-23-PC-69 | 11.3 | 3.0 | 0.282188 | 0.000032 | 0.000657 | 0.282171 | -21.1 | 1.1 | 9.0 | 1366 |
| 11HW-23-PC-74 | 18.0 | 3.8 | 0.282045 | 0.000031 | 0.001162 | 0.282014 | -26.2 | 1.1 | 4.5 | 1412 |
| 11HW-23-PC-52 | 6.7 | 2.7 | 0.281938 | 0.000029 | 0.000432 | 0.281925 | -30.0 | 1.0 | 3.9 | 1523 |
| 11HW-23-PC-27 | 0.6 | 2.8 | 0.281927 | 0.000036 | 0.000029 | 0.281926 | -30.4 | 1.3 | 4.1 | 1534 |
| 11HW-23-PC-31 | 12.2 | 2.8 | 0.281449 | 0.000041 | 0.000645 | 0.281428 | -47.2 | 1.4 | -8.0 | 1773 |
| 11HW-23-PC-80 | 12.3 | 3.0 | 0.281554 | 0.000029 | 0.000793 | 0.281527 | -43.5 | 1.0 | -4.4 | 1776 |
| 11HW-23-PC-58 | 10.0 | 2.4 | 0.281560 | 0.000039 | 0.000551 | 0.281541 | -43.3 | 1.4 | -3.7 | 1788 |
| 11HW-23-PC-61 | 13.5 | 3.1 | 0.281657 | 0.000034 | 0.000766 | 0.281631 | -39.9 | 1.2 | -0.4 | 1789 |
| 11HW-23-PC-36 | 7.2 | 2.9 | 0.281616 | 0.000036 | 0.000400 | 0.281602 | -41.3 | 1.3 | 0.0 | 1855 |
| 11HW-23-PC-44 | 14.3 | 2.4 | 0.281742 | 0.000040 | 0.000783 | 0.281714 | -36.9 | 1.4 | 4.7 | 1885 |
| 11HW-23-PC-100 | 7.3 | 3.0 | 0.281045 | 0.000033 | 0.000386 | 0.281031 | -61.5 | 1.2 | -19.0 | 1906 |
| 11HW-23-PC-50 | 3.7 | 2.9 | 0.281148 | 0.000041 | 0.000220 | 0.281139 | -57.9 | 1.4 | -5.5 | 2326 |
| 11HW-23-PC-53 | 10.0 | 2.6 | 0.281107 | 0.000041 | 0.000541 | 0.281080 | -59.4 | 1.4 | -2.8 | 2533 |
| 11HW-23-PC-11 | 41.2 | 2.7 | 0.281192 | 0.000043 | 0.002173 | 0.281086 | -56.3 | 1.5 | -2.1 | 2550 |
| 11HW-23-PC-48 | 5.4 | 2.9 | 0.281171 | 0.000033 | 0.000327 | 0.281155 | -57.1 | 1.2 | 2.2 | 2632 |
| 11HW-23-PC-15 | 7.5 | 2.7 | 0.280905 | 0.000038 | 0.000509 | 0.280877 | -66.5 | 1.3 | -0.6 | 2935 |
| Sample 11SJO-34, Sitkalidak Fm (57.42846, -152.32520) |  |  |  |  |  |  |  |  |  |  |
| 11SJ034PC-13 | 20.2 | 3.6 | 0.282398 | 0.000026 | 0.001330 | 0.282389 | -13.7 | 0.9 | -6.2 | 351 |
| 11SJ034PC-10 | 8.5 | 2.9 | 0.282516 | 0.000024 | 0.000633 | 0.282512 | -9.5 | 0.8 | -1.8 | 353 |
| 11SJ034PC-47 | 15.4 | 3.6 | 0.282583 | 0.000031 | 0.001059 | 0.282576 | -7.1 | 1.1 | 0.8 | 370 |
| 11SJ034PC-05 | 9.9 | 3.5 | 0.282370 | 0.000036 | 0.000578 | 0.282365 | -14.7 | 1.3 | -4.7 | 457 |
| 11SJ034PC-15 | 17.8 | 4.1 | 0.281988 | 0.000033 | 0.001057 | 0.281978 | -28.2 | 1.2 | -17.3 | 503 |
| 11SJO-34Y-12 | 3.0 | 1.7 | 0.281712 | 0.000054 | 0.000155 | 0.281710 | -38.0 | 1.9 | -25.7 | 553 |
| 11SJ034PC-37 | 16.7 | 2.9 | 0.282476 | 0.000031 | 0.001055 | 0.282464 | -10.9 | 1.1 | 2.4 | 618 |
| 11SJ034PC-06 | 15.5 | 3.6 | 0.282251 | 0.000033 | 0.000966 | 0.282233 | -18.9 | 1.2 | 2.3 | 975 |
| 11SJ034PC-23 | 10.5 | 3.9 | 0.282348 | 0.000027 | 0.000646 | 0.282335 | -15.5 | 0.9 | 6.4 | 997 |
| 11SJ034PC-29 | 7.1 | 4.2 | 0.282220 | 0.000028 | 0.000433 | 0.282212 | -20.0 | 1.0 | 2.4 | 1011 |
| 11SJ034PC-31 | 3.1 | 3.9 | 0.282291 | 0.000033 | 0.000171 | 0.282287 | -17.5 | 1.2 | 6.0 | 1052 |
| 11SJ034PC-03 | 28.9 | 2.7 | 0.282272 | 0.000038 | 0.001723 | 0.282237 | -18.2 | 1.3 | 4.6 | 1068 |
| 11SJ034PC-43 | 41.1 | 2.4 | 0.282372 | 0.000041 | 0.002535 | 0.282318 | -14.6 | 1.5 | 8.6 | 1120 |
| 11SJ034PC-46 | 10.9 | 4.1 | 0.282138 | 0.000031 | 0.000646 | 0.282124 | -22.9 | 1.1 | 2.8 | 1167 |
| 11SJ034PC-11 | 10.6 | 3.3 | 0.281869 | 0.000038 | 0.000603 | 0.281851 | -32.4 | 1.3 | 2.9 | 1597 |
| 11SJ034PC-25 | 13.6 | 3.8 | 0.282043 | 0.000038 | 0.000812 | 0.282018 | -26.2 | 1.3 | 9.2 | 1611 |
| 11SJ034PC-07 | 18.1 | 2.9 | 0.281540 | 0.000031 | 0.001187 | 0.281502 | -44.0 | 1.1 | -6.7 | 1719 |
| 11SJ034PC-14 | 10.8 | 3.0 | 0.281798 | 0.000030 | 0.000723 | 0.281773 | -34.9 | 1.1 | 4.9 | 1804 |
| 11SJ034PC-53 | 7.0 | 3.1 | 0.281408 | 0.000032 | 0.000406 | 0.281394 | -48.7 | 1.1 | -7.9 | 1833 |
| 11SJ034PC-33 | 11.6 | 3.8 | 0.281432 | 0.000034 | 0.000727 | 0.281405 | -47.8 | 1.2 | -4.6 | 1955 |
| 11SJ034PC-50 | 1.3 | 3.5 | 0.281383 | 0.000030 | 0.000142 | 0.281378 | -49.6 | 1.1 | -4.8 | 1988 |
| 11SJ034PC-35 | 4.7 | 3.9 | 0.281484 | 0.000027 | 0.000287 | 0.281473 | -46.0 | 0.9 | -1.2 | 2001 |
| 11SJ034PC-28 | 5.7 | 2.4 | 0.280969 | 0.000041 | 0.000302 | 0.280958 | -64.2 | 1.5 | -19.0 | 2024 |
| 11SJ034PC-27 | 18.9 | 3.0 | 0.281336 | 0.000040 | 0.001196 | 0.281284 | -51.2 | 1.4 | -0.6 | 2317 |
| 11SJO-34Y-31 | 13.5 | 2.0 | 0.281237 | 0.000038 | 0.000798 | 0.281200 | -54.7 | 1.4 | -1.5 | 2405 |
| 11SJ034PC-04 | 10.4 | 3.4 | 0.281125 | 0.000027 | 0.000594 | 0.281096 | -58.7 | 1.0 | -0.4 | 2609 |
| Sample JG10-25, Yakutat Fm (59.91939, -139.57452) |  |  |  |  |  |  |  |  |  |  |
| JG1025-20 | 19.4 | 2.6 | 0.282884 | 0.000040 | 0.001182 | 0.282883 | 3.5 | 1.4 | 4.8 | 60 |
| JG1025-06 | 22.7 | 3.2 | 0.282855 | 0.000037 | 0.001350 | 0.282853 | 2.5 | 1.3 | 3.8 | 63 |
| JG1025-53 | 31.5 | 3.1 | 0.281993 | 0.000039 | 0.002000 | 0.281991 | -28.0 | 1.4 | -26.5 | 70 |
| JG1025-98 | 18.2 | 3.3 | 0.282260 | 0.000026 | 0.001031 | 0.282259 | -18.6 | 0.9 | -17.0 | 74 |
| JG1025-49 | 13.2 | 3.6 | 0.282990 | 0.000026 | 0.000851 | 0.282989 | 7.3 | 0.9 | 9.0 | 80 |
| JG1025-68 | 24.5 | 3.7 | 0.282385 | 0.000032 | 0.001529 | 0.282382 | -14.2 | 1.1 | -12.3 | 86 |
| JG1025-45 | 25.6 | 3.2 | 0.282956 | 0.000027 | 0.001444 | 0.282953 | 6.0 | 1.0 | 7.9 | 89 |
| JG1025-54 | 6.0 | 3.6 | 0.282379 | 0.000030 | 0.000428 | 0.282378 | -14.4 | 1.1 | -12.3 | 93 |
| JG1025-30 | 12.1 | 3.1 | 0.282766 | 0.000030 | 0.000728 | 0.282765 | -0.7 | 1.1 | 1.4 | 97 |
| JG1025-27 | 24.1 | 3.2 | 0.282211 | 0.000036 | 0.001458 | 0.282208 | -20.3 | 1.3 | -18.0 | 109 |
| JG1025-14 | 19.1 | 3.2 | 0.283019 | 0.000032 | 0.001093 | 0.283016 | 8.3 | 1.1 | 11.3 | 142 |
| JG1025-32 | 14.7 | 3.1 | 0.283033 | 0.000029 | 0.001022 | 0.283030 | 8.8 | 1.0 | 11.9 | 147 |
| JG1025-17 | 16.2 | 3.3 | 0.282916 | 0.000029 | 0.001019 | 0.282913 | 4.6 | 1.0 | 8.0 | 154 |
| JG1025-07 | 16.7 | 2.9 | 0.282721 | 0.000033 | 0.001035 | 0.282718 | -2.3 | 1.2 | 1.3 | 164 |
| JG1025-39 | 13.4 | 2.8 | 0.282940 | 0.000024 | 0.000789 | 0.282937 | 5.5 | 0.9 | 9.3 | 175 |
| JG1025-05 | 21.4 | 3.1 | 0.282903 | 0.000036 | 0.001310 | 0.282899 | 4.2 | 1.3 | 7.9 | 176 |
| JG1025-97 | 48.6 | 2.7 | 0.282907 | 0.000035 | 0.002983 | 0.282897 | 4.3 | 1.2 | 8.0 | 182 |
| JG1025-44 | 10.0 | 3.4 | 0.282894 | 0.000034 | 0.000593 | 0.282892 | 3.8 | 1.2 | 7.9 | 187 |
| JG1025-22 | 20.5 | 2.9 | 0.282985 | 0.000030 | 0.001203 | 0.282980 | 7.1 | 1.1 | 11.2 | 192 |
| JG1025-96 | 11.6 | 3.4 | 0.282984 | 0.000033 | 0.000730 | 0.282981 | 7.0 | 1.2 | 11.3 | 198 |
| JG 10-25PC-76 | 29.8 | 2.4 | 0.282920 | 0.000043 | 0.002074 | 0.282911 | 4.8 | 1.5 | 9.9 | 245 |
| JG1025-21 | 28.2 | 2.2 | 0.282441 | 0.000048 | 0.001570 | 0.282433 | -12.2 | 1.7 | -7.0 | 246 |
| JG1025-09 | 20.0 | 3.8 | 0.282577 | 0.000045 | 0.001269 | 0.282569 | -7.3 | 1.6 | 0.6 | 371 |
| JG1025-50 | 12.2 | 1.9 | 0.282418 | 0.000031 | 0.000749 | 0.282412 | -13.0 | 1.1 | -3.1 | 455 |
| JG 10-25PC-51 | 19.0 | 2.9 | 0.282180 | 0.000030 | 0.001038 | 0.282160 | -21.4 | 1.1 | 1.3 | 1047 |
| JG 10-25PC-53 | 19.7 | 3.4 | 0.282215 | 0.000035 | 0.001075 | 0.282192 | -20.1 | 1.2 | 5.2 | 1166 |
| JG1025-16 | 41.1 | 3.0 | 0.282058 | 0.000034 | 0.002349 | 0.281997 | -25.7 | 1.2 | 2.9 | 1369 |
| JG1025-51 | 30.6 | 4.2 | 0.281903 | 0.000025 | 0.001745 | 0.281858 | -31.2 | 0.9 | -1.9 | 1374 |
| JG 10-25PC-56 | 20.4 | 3.1 | 0.282125 | 0.000040 | 0.001340 | 0.282090 | -23.3 | 1.4 | 6.4 | 1376 |
| JG 10-25PC-65 | 39.3 | 4.7 | 0.281868 | 0.000034 | 0.002130 | 0.281812 | -32.4 | 1.2 | -3.4 | 1378 |
| JG 10-25PC-04 | 30.0 | 3.6 | 0.281980 | 0.000027 | 0.001663 | 0.281937 | -28.5 | 1.0 | 1.0 | 1378 |
| JG 10-25PC-73 | 31.8 | 3.6 | 0.282035 | 0.000039 | 0.001888 | 0.281985 | -26.5 | 1.4 | 2.8 | 1381 |
| JG1025-79 | 32.7 | 4.9 | 0.281962 | 0.000027 | 0.001900 | 0.281912 | -29.1 | 1.0 | 0.2 | 1381 |
| JG 10-25PC-13 | 29.1 | 4.1 | 0.282013 | 0.000027 | 0.001623 | 0.281970 | -27.3 | 1.0 | 2.3 | 1384 |
| JG1025-01 | 53.7 | 4.3 | 0.281918 | 0.000035 | 0.003032 | 0.281838 | -30.7 | 1.2 | -2.3 | 1388 |
| JG 10-25PC-57 | 26.3 | 2.8 | 0.281929 | 0.000029 | 0.001462 | 0.281890 | -30.3 | 1.0 | 0.4 | 1425 |
| JG 10-25PC-39 | 10.1 | 3.2 | 0.282012 | 0.000036 | 0.000590 | 0.281996 | -27.3 | 1.3 | 4.4 | 1436 |
| JG1025-38 | 11.4 | 3.0 | 0.282000 | 0.000030 | 0.000654 | 0.281982 | -27.8 | 1.1 | 4.1 | 1444 |
| JG 10-25PC-50 | 38.4 | 3.6 | 0.282034 | 0.000028 | 0.003052 | 0.281950 | -26.6 | 1.0 | 3.2 | 1454 |
| JG 10-25PC-72 | 30.2 | 3.4 | 0.282093 | 0.000037 | 0.001898 | 0.282040 | -24.5 | 1.3 | 6.7 | 1467 |
| JG 10-25PC-17 | 11.6 | 3.8 | 0.282107 | 0.000034 | 0.000699 | 0.282087 | -24.0 | 1.2 | 8.6 | 1477 |
| JG 10-25PC-02 | 20.6 | 3.1 | 0.282032 | 0.000025 | 0.001181 | 0.281999 | -26.6 | 0.9 | 5.6 | 1483 |
| JG 10-25PC-07 | 21.3 | 3.2 | 0.282070 | 0.000037 | 0.001436 | 0.282030 | -25.3 | 1.3 | 6.8 | 1487 |
| JG1025-10 | 13.6 | 4.0 | 0.282011 | 0.000031 | 0.000836 | 0.281987 | -27.4 | 1.1 | 6.0 | 1520 |
| JG 10-25PC-70 | 24.8 | 3.1 | 0.282012 | 0.000035 | 0.001752 | 0.281962 | -27.3 | 1.2 | 5.1 | 1521 |
| JG 10-25PC-61 | 14.9 | 3.4 | 0.281885 | 0.000030 | 0.000846 | 0.281861 | -31.8 | 1.1 | 1.6 | 1523 |
| JG1025-71 | 33.2 | 3.4 | 0.282094 | 0.000035 | 0.002012 | 0.282035 | -24.4 | 1.3 | 8.3 | 1547 |
| JG 10-25PC-33 | 37.1 | 3.4 | 0.281979 | 0.000027 | 0.002199 | 0.281914 | -28.5 | 1.0 | 4.4 | 1564 |
| JG 10-25PC-49 | 8.2 | 3.4 | 0.281928 | 0.000031 | 0.000554 | 0.281912 | -30.3 | 1.1 | 5.3 | 1604 |
| JG 10-25PC-64 | 35.6 | 3.0 | 0.281981 | 0.000047 | 0.002463 | 0.281905 | -28.4 | 1.7 | 5.4 | 1618 |
| JG1025-36 | 19.0 | 3.2 | 0.281996 | 0.000031 | 0.001104 | 0.281962 | -27.9 | 1.1 | 7.8 | 1637 |
| JG 10-25PC-25 | 14.0 | 2.2 | 0.281780 | 0.000055 | 0.000955 | 0.281750 | -35.5 | 1.9 | 0.5 | 1647 |
| JG 10-25PC-48 | 18.5 | 2.4 | 0.281924 | 0.000043 | 0.001436 | 0.281879 | -30.4 | 1.5 | 5.5 | 1664 |
| JG 10-25PC-30 | 10.4 | 2.6 | 0.281972 | 0.000057 | 0.000681 | 0.281951 | -28.7 | 2.0 | 8.0 | 1664 |
| JG1025-57 | 12.8 | 3.2 | 0.281874 | 0.000033 | 0.000750 | 0.281850 | -32.2 | 1.2 | 4.8 | 1679 |
| JG1025-04 | 43.4 | 4.1 | 0.281996 | 0.000029 | 0.002670 | 0.281910 | -27.9 | 1.0 | 7.1 | 1686 |
| JG1025-24 | 14.5 | 3.4 | 0.281760 | 0.000028 | 0.000840 | 0.281733 | -36.2 | 1.0 | 0.9 | 1690 |
| JG1025-92 | 28.8 | 3.5 | 0.281915 | 0.000034 | 0.001691 | 0.281861 | -30.8 | 1.2 | 5.5 | 1691 |
| JG 10-25PC-59 | 36.4 | 3.2 | 0.282015 | 0.000033 | 0.002419 | 0.281937 | -27.2 | 1.2 | 8.2 | 1693 |
| JG 10-25PC-10 | 19.9 | 3.7 | 0.281979 | 0.000029 | 0.001081 | 0.281944 | -28.5 | 1.0 | 8.6 | 1701 |
| JG 10-25PC-12 | 29.8 | 3.5 | 0.281779 | 0.000046 | 0.001827 | 0.281720 | -35.6 | 1.6 | 0.7 | 1703 |
| JG 10-25PC-75 | 10.4 | 4.3 | 0.281871 | 0.000031 | 0.000714 | 0.281848 | -32.3 | 1.1 | 5.5 | 1712 |
| JG 10-25PC-22 | 21.2 | 3.7 | 0.281821 | 0.000034 | 0.001213 | 0.281782 | -34.1 | 1.2 | 3.1 | 1712 |
| JG 10-25PC-09 | 14.7 | 2.7 | 0.281995 | 0.000051 | 0.000890 | 0.281966 | -27.9 | 1.8 | 9.8 | 1716 |
| JG 10-25PC-43 | 38.1 | 3.7 | 0.281925 | 0.000033 | 0.002195 | 0.281853 | -30.4 | 1.2 | 6.2 | 1737 |
| JG 10-25PC-32 | 22.7 | 3.1 | 0.281828 | 0.000035 | 0.001285 | 0.281785 | -33.8 | 1.3 | 3.9 | 1739 |
| JG 10-25PC-27 | 26.8 | 3.2 | 0.281729 | 0.000028 | 0.001547 | 0.281678 | -37.3 | 1.0 | 0.3 | 1748 |
| JG 10-25PC-29 | 39.5 | 2.7 | 0.281952 | 0.000038 | 0.002281 | 0.281877 | -29.4 | 1.3 | 7.4 | 1750 |
| JG 10-25PC-68 | 32.2 | 3.6 | 0.281689 | 0.000029 | 0.001929 | 0.281624 | -38.8 | 1.0 | -1.5 | 1756 |
| JG 10-25PC-60 | 8.7 | 3.4 | 0.281765 | 0.000032 | 0.000697 | 0.281742 | -36.1 | 1.1 | 2.8 | 1760 |
| JG1025-25 | 10.6 | 2.5 | 0.281628 | 0.000043 | 0.000589 | 0.281609 | -40.9 | 1.5 | -1.6 | 1774 |
| JG 10-25PC-14 | 8.3 | 2.9 | 0.281810 | 0.000050 | 0.000538 | 0.281791 | -34.5 | 1.8 | 5.0 | 1777 |
| JG 10-25PC-42 | 14.5 | 3.0 | 0.281731 | 0.000034 | 0.000805 | 0.281704 | -37.3 | 1.2 | 1.9 | 1778 |
| JG 10-25PC-15 | 19.6 | 3.3 | 0.281653 | 0.000038 | 0.001217 | 0.281612 | -40.0 | 1.3 | -1.3 | 1782 |
| JG 10-25PC-74 | 19.1 | 3.7 | 0.281696 | 0.000029 | 0.001175 | 0.281656 | -38.5 | 1.0 | 0.3 | 1785 |
| JG 10-25PC-05 | 33.8 | 3.9 | 0.281620 | 0.000025 | 0.001945 | 0.281555 | -41.2 | 0.9 | -3.3 | 1785 |
| JG 10-25PC-08 | 11.3 | 2.1 | 0.281597 | 0.000043 | 0.000748 | 0.281572 | -42.0 | 1.5 | -2.5 | 1793 |
| JG 10-25PC-03 | 3.8 | 3.6 | 0.281633 | 0.000023 | 0.000215 | 0.281624 | -40.7 | 0.8 | 8.3 | 2176 |
| JG 10-25PC-46 | 19.0 | 3.1 | 0.281722 | 0.000035 | 0.001205 | 0.281670 | -37.6 | 1.2 | 11.7 | 2256 |
| JG 10-25PC-67 | 15.5 | 3.1 | 0.281056 | 0.000031 | 0.000959 | 0.281007 | -61.1 | 1.1 | -1.9 | 2683 |
| Sample JG09-05, Kodiak Fm (57.83622, -152.35168) |  |  |  |  |  |  |  |  |  |  |
| JG09-05-14 | 18.9 | 4.1 | 0.283075 | 0.000032 | 0.001264 | 0.283074 | 10.3 | 1.1 | 11.7 | 68 |
| JG09-05-36 | 29.6 | 3.0 | 0.282992 | 0.000028 | 0.001829 | 0.282990 | 7.3 | 1.0 | 8.8 | 70 |
| JG09-05-37 | 36.8 | 3.0 | 0.283013 | 0.000031 | 0.001818 | 0.283010 | 8.1 | 1.1 | 9.5 | 70 |
| JG09-05-99 | 10.6 | 4.5 | 0.282940 | 0.000024 | 0.000647 | 0.282939 | 5.5 | 0.8 | 7.4 | 86 |
| JG09-05-11 | 0.3 | 3.7 | 0.282233 | 0.000024 | 0.000013 | 0.282233 | -19.5 | 0.8 | -17.5 | 93 |
| JG09-05-52 | 18.4 | 3.4 | 0.282951 | 0.000033 | 0.001374 | 0.282948 | 5.9 | 1.2 | 7.9 | 97 |
| JG09-05-78 | 13.7 | 3.3 | 0.282907 | 0.000030 | 0.001094 | 0.282905 | 4.3 | 1.1 | 6.4 | 98 |
| JG09-05-95 | 20.3 | 3.2 | 0.282620 | 0.000029 | 0.001233 | 0.282618 | -5.8 | 1.0 | -3.7 | 98 |
| JG09-05-08 | 30.1 | 4.7 | 0.283050 | 0.000026 | 0.001935 | 0.283047 | 9.4 | 0.9 | 11.5 | 100 |
| JG09-05-92 | 11.1 | 3.2 | 0.282699 | 0.000037 | 0.000798 | 0.282697 | -3.1 | 1.3 | -0.9 | 101 |
| JG09-05-85 | 14.6 | 3.0 | 0.282893 | 0.000032 | 0.001001 | 0.282891 | 3.8 | 1.1 | 6.0 | 102 |
| JG09-05-69 | 9.9 | 4.1 | 0.282888 | 0.000027 | 0.000738 | 0.282886 | 3.7 | 1.0 | 7.2 | 163 |
| JG09-05-03 | 12.7 | 3.1 | 0.282984 | 0.000026 | 0.000900 | 0.282981 | 7.0 | 0.9 | 10.6 | 164 |
| JG09-05-10 | 22.4 | 3.7 | 0.282957 | 0.000023 | 0.001641 | 0.282952 | 6.1 | 0.8 | 9.6 | 167 |
| JG09-05-94 | 48.1 | 2.6 | 0.283016 | 0.000033 | 0.003685 | 0.283004 | 8.2 | 1.2 | 11.7 | 177 |
| JG09-05-38 | 16.1 | 4.6 | 0.282953 | 0.000036 | 0.000980 | 0.282950 | 5.9 | 1.3 | 9.9 | 183 |
| JG09-05-33 | 22.3 | 3.7 | 0.282569 | 0.000037 | 0.001458 | 0.282564 | -7.6 | 1.3 | -3.7 | 185 |
| JG09-05-29 | 18.9 | 3.3 | 0.282639 | 0.000029 | 0.001247 | 0.282635 | -5.2 | 1.0 | -1.2 | 187 |
| JG09-05-24 | 19.9 | 3.5 | 0.282714 | 0.000029 | 0.001510 | 0.282709 | -2.5 | 1.0 | 1.7 | 198 |
| JG09-05-89 | 11.9 | 3.3 | 0.282663 | 0.000026 | 0.000827 | 0.282660 | -4.3 | 0.9 | 0.1 | 202 |
| JG09-05-22 | 92.6 | 2.8 | 0.282947 | 0.000045 | 0.005889 | 0.282924 | 5.7 | 1.6 | 9.6 | 208 |
| JG09-05-20 | 24.4 | 3.2 | 0.282527 | 0.000040 | 0.001499 | 0.282519 | -9.1 | 1.4 | -3.6 | 260 |
| JG09-05-34 | 19.7 | 3.2 | 0.282899 | 0.000038 | 0.001272 | 0.282891 | 4.0 | 1.3 | 10.8 | 314 |
| JG09-05-02 | 25.5 | 3.0 | 0.282476 | 0.000036 | 0.001683 | 0.282466 | -10.9 | 1.3 | -3.8 | 339 |
| JG09-05-42 | 15.1 | 3.2 | 0.282374 | 0.000029 | 0.001049 | 0.282367 | -14.5 | 1.0 | -6.8 | 357 |
| JG09-05-PCY32 | 12.3 | 2.8 | 0.282213 | 0.000037 | 0.000705 | 0.282208 | -20.2 | 1.3 | -12.2 | 369 |
| JG09-05-55 | 20.4 | 3.4 | 0.282206 | 0.000035 | 0.001190 | 0.282198 | -20.5 | 1.2 | -12.5 | 371 |
| JG09-05-58 | 17.3 | 3.1 | 0.282091 | 0.000035 | 0.001032 | 0.282084 | -24.5 | 1.2 | -16.5 | 372 |
| JG09-05-70 | 5.4 | 4.1 | 0.282348 | 0.000033 | 0.000325 | 0.282346 | -15.4 | 1.2 | -6.2 | 420 |
| JG09-05-93 | 34.5 | 3.2 | 0.282393 | 0.000031 | 0.002025 | 0.282372 | -13.9 | 1.1 | -2.2 | 557 |
| JG09-05-48 | 13.0 | 3.2 | 0.282340 | 0.000033 | 0.000741 | 0.282326 | -15.7 | 1.2 | 7.4 | 1053 |
| JG09-05-PCY36 | 18.3 | 3.9 | 0.282016 | 0.000027 | 0.001103 | 0.281991 | -27.2 | 1.0 | -1.2 | 1199 |
| JG09-05-PCY16 | 61.2 | 2.1 | 0.282322 | 0.000041 | 0.003143 | 0.282250 | -16.4 | 1.5 | 8.1 | 1201 |
| JG09-05-PCY40 | 17.1 | 3.6 | 0.282038 | 0.000026 | 0.000920 | 0.282017 | -26.4 | 0.9 | 0.7 | 1241 |
| JG09-05-63 | 28.7 | 3.7 | 0.282218 | 0.000027 | 0.001539 | 0.282180 | -20.0 | 0.9 | 8.5 | 1332 |
| JG09-05-47 | 12.9 | 4.1 | 0.281801 | 0.000035 | 0.000738 | 0.281782 | -34.8 | 1.2 | -4.3 | 1387 |
| JG09-05-PCY05 | 17.1 | 2.8 | 0.281941 | 0.000028 | 0.001022 | 0.281914 | -29.8 | 1.0 | 1.0 | 1414 |
| JG09-05-PCY10 | 24.5 | 4.0 | 0.282024 | 0.000030 | 0.001427 | 0.281985 | -26.9 | 1.0 | 4.0 | 1436 |
| JG09-05-PCY27 | 13.4 | 4.2 | 0.281926 | 0.000029 | 0.000759 | 0.281904 | -30.4 | 1.0 | 2.9 | 1513 |
| JG09-05-PCY01 | 17.4 | 3.7 | 0.281908 | 0.000026 | 0.000976 | 0.281880 | -31.0 | 0.9 | 2.3 | 1523 |
| JG09-05-64 | 10.9 | 4.3 | 0.282007 | 0.000029 | 0.000710 | 0.281986 | -27.5 | 1.0 | 7.4 | 1582 |
| JG09-05-PCY33 | 9.6 | 4.0 | 0.281807 | 0.000026 | 0.000597 | 0.281787 | -34.6 | 0.9 | 4.3 | 1754 |
| JG09-05-PCY11 | 8.5 | 3.6 | 0.281534 | 0.000028 | 0.000489 | 0.281518 | -44.2 | 1.0 | -4.7 | 1779 |
| JG09-05-32 | 16.1 | 3.6 | 0.281628 | 0.000029 | 0.000872 | 0.281599 | -40.9 | 1.0 | -1.7 | 1785 |
| JG09-05-PCY12 | 16.4 | 4.2 | 0.281744 | 0.000030 | 0.000920 | 0.281712 | -36.8 | 1.1 | 2.4 | 1787 |
| JG09-05-PCY18 | 2.3 | 3.7 | 0.281860 | 0.000031 | 0.000187 | 0.281853 | -32.7 | 1.1 | 7.4 | 1787 |
| JG09-05-PCY09 | 10.3 | 3.1 | 0.281437 | 0.000030 | 0.000569 | 0.281417 | -47.7 | 1.1 | -7.8 | 1801 |
| JG09-05-PCY17 | 18.6 | 3.3 | 0.281638 | 0.000044 | 0.001094 | 0.281600 | -40.6 | 1.5 | -1.1 | 1809 |
| JG09-05-PCY39 | 10.4 | 2.7 | 0.281485 | 0.000039 | 0.000590 | 0.281464 | -46.0 | 1.4 | -5.3 | 1835 |
| JG09-05-PCY25 | 7.9 | 3.2 | 0.281720 | 0.000030 | 0.000461 | 0.281703 | -37.7 | 1.1 | 3.3 | 1840 |
| JG09-05-PCY37 | 30.0 | 2.9 | 0.281810 | 0.000031 | 0.001467 | 0.281759 | -34.5 | 1.1 | 5.4 | 1845 |
| JG09-05-PCY03 | 9.7 | 3.4 | 0.281524 | 0.000034 | 0.000574 | 0.281504 | -44.6 | 1.2 | -3.6 | 1848 |
| JG09-05-PCY07 | 21.6 | 3.7 | 0.281687 | 0.000026 | 0.001246 | 0.281643 | -38.8 | 0.9 | 1.4 | 1849 |
| JG09-05-PCY04 | 5.0 | 4.3 | 0.281506 | 0.000027 | 0.000306 | 0.281495 | -45.2 | 0.9 | -3.8 | 1852 |
| JG09-05-PCY35 | 4.1 | 3.8 | 0.281430 | 0.000030 | 0.000287 | 0.281419 | -47.9 | 1.1 | -6.4 | 1857 |
| JG09-05-54 | 11.6 | 3.1 | 0.281544 | 0.000022 | 0.000690 | 0.281519 | -43.9 | 0.8 | -2.4 | 1875 |
| JG09-05-PCY15 | 5.6 | 4.4 | 0.281609 | 0.000030 | 0.000340 | 0.281597 | -41.6 | 1.1 | 0.7 | 1893 |
| JG09-05-07 | 8.6 | 3.4 | 0.281431 | 0.000033 | 0.000527 | 0.281412 | -47.9 | 1.2 | -5.5 | 1908 |
| JG09-05-PCY22 | 10.4 | 3.5 | 0.281585 | 0.000038 | 0.000622 | 0.281563 | -42.4 | 1.3 | -0.0 | 1913 |
| JG09-05-17 | 2.8 | 3.0 | 0.281406 | 0.000035 | 0.000140 | 0.281401 | -48.8 | 1.2 | -5.6 | 1918 |
| JG09-05-65 | 12.5 | 3.5 | 0.281605 | 0.000033 | 0.000828 | 0.281575 | -41.7 | 1.2 | 0.7 | 1928 |
| JG09-05-41 | 4.8 | 3.8 | 0.281450 | 0.000031 | 0.000300 | 0.281439 | -47.2 | 1.1 | -4.0 | 1929 |
| JG09-05-PCY31 | 20.1 | 3.3 | 0.281480 | 0.000038 | 0.001183 | 0.281435 | -46.2 | 1.4 | -2.7 | 1993 |
| JG09-05-PCY06 | 10.4 | 3.9 | 0.281508 | 0.000031 | 0.000623 | 0.281484 | -45.2 | 1.1 | -0.9 | 1994 |
| JG09-05-PCY21 | 11.0 | 3.6 | 0.281427 | 0.000035 | 0.000641 | 0.281402 | -48.0 | 1.2 | -3.8 | 1996 |
| JG09-05-79 | 9.2 | 2.4 | 0.281447 | 0.000037 | 0.000555 | 0.281426 | -47.3 | 1.3 | -2.9 | 2000 |
| JG09-05-PCY38 | 9.4 | 3.0 | 0.281377 | 0.000031 | 0.000547 | 0.281356 | -49.8 | 1.1 | -5.3 | 2002 |
| JG09-05-88 | 14.2 | 2.8 | 0.281443 | 0.000033 | 0.000859 | 0.281410 | -47.4 | 1.2 | -3.1 | 2016 |
| JG09-05-PCY41 | 10.8 | 3.2 | 0.281291 | 0.000030 | 0.000610 | 0.281264 | -52.8 | 1.0 | -1.8 | 2293 |
| JG09-05-04 | 18.2 | 3.4 | 0.281311 | 0.000038 | 0.001267 | 0.281256 | -52.1 | 1.3 | -1.8 | 2306 |
| JG09-05-PCY08 | 11.2 | 3.2 | 0.281199 | 0.000039 | 0.000640 | 0.281171 | -56.1 | 1.4 | -4.6 | 2318 |
| JG09-05-PCY30 | 11.3 | 3.3 | 0.281201 | 0.000029 | 0.000665 | 0.281170 | -56.0 | 1.0 | -1.1 | 2470 |
| JG09-05-PCY20 | 10.1 | 3.9 | 0.281221 | 0.000029 | 0.000608 | 0.281192 | -55.3 | 1.0 | 0.9 | 2521 |
| JG09-05-PCY02 | 8.7 | 3.3 | 0.281218 | 0.000029 | 0.000510 | 0.281193 | -55.4 | 1.0 | 2.2 | 2575 |
| JG09-05-PCY19 | 8.5 | 3.8 | 0.281208 | 0.000027 | 0.000496 | 0.281183 | -55.8 | 0.9 | 2.5 | 2600 |
| JG09-05-PCY14 | 6.2 | 3.6 | 0.281044 | 0.000033 | 0.000376 | 0.281025 | -61.6 | 1.2 | -0.6 | 2709 |
| JG09-05-PCY23 | 11.9 | 3.3 | 0.280966 | 0.000029 | 0.000693 | 0.280929 | -64.3 | 1.0 | -3.4 | 2735 |
| Sample NI12-04, Shumagin Fm (55.156140°, -160.017880°) |  |  |  |  |  |  |  |  |  |  |
| NI12-04-105 | 14.8 | 3.4 | 0.282942 | 0.000038 | 0.001065 | 0.282941 | 5.6 | 1.4 | 7.1 | 70 |
| NI12-04-50 | 19.6 | 3.2 | 0.282987 | 0.000027 | 0.001379 | 0.282985 | 7.2 | 0.9 | 8.7 | 73 |
| NI12-04-112 | 9.8 | 3.4 | 0.283000 | 0.000030 | 0.000703 | 0.282999 | 7.6 | 1.0 | 9.2 | 73 |
| NI12-04-26 | 13.4 | 3.3 | 0.282947 | 0.000027 | 0.000951 | 0.282946 | 5.7 | 1.0 | 7.3 | 73 |
| NI12-04-97 | 9.8 | 3.6 | 0.283025 | 0.000031 | 0.000715 | 0.283024 | 8.5 | 1.1 | 10.1 | 74 |
| NI12-04-11 | 12.1 | 3.5 | 0.283038 | 0.000030 | 0.000852 | 0.283037 | 9.0 | 1.1 | 10.6 | 74 |
| NI12-04-17 | 30.8 | 3.6 | 0.283041 | 0.000037 | 0.001933 | 0.283038 | 9.0 | 1.3 | 10.9 | 89 |
| NI12-04-93 | 34.0 | 3.4 | 0.283063 | 0.000036 | 0.002329 | 0.283059 | 9.8 | 1.3 | 11.7 | 89 |
| NI12-04-117 | 17.3 | 3.1 | 0.282895 | 0.000039 | 0.001293 | 0.282893 | 3.9 | 1.4 | 5.8 | 91 |
| NI12-04-83 | 17.5 | 4.5 | 0.283005 | 0.000021 | 0.001247 | 0.283003 | 7.8 | 0.8 | 9.8 | 94 |
| NI12-04-40 | 18.7 | 3.4 | 0.282960 | 0.000027 | 0.001334 | 0.282958 | 6.2 | 0.9 | 8.3 | 97 |
| NI12-04-24 | 18.3 | 3.2 | 0.283018 | 0.000033 | 0.001213 | 0.283015 | 8.2 | 1.2 | 11.4 | 149 |
| NI12-04-77 | 6.9 | 4.8 | 0.282917 | 0.000024 | 0.000572 | 0.282916 | 4.7 | 0.8 | 8.0 | 150 |
| NI12-04-78 | 22.4 | 3.4 | 0.282976 | 0.000036 | 0.001487 | 0.282971 | 6.8 | 1.3 | 10.2 | 160 |
| NI12-04-35 | 19.2 | 3.8 | 0.282844 | 0.000030 | 0.001300 | 0.282840 | 2.1 | 1.1 | 5.7 | 168 |
| NI12-04-53 | 42.3 | 4.0 | 0.282825 | 0.000027 | 0.002716 | 0.282817 | 1.4 | 1.0 | 4.9 | 170 |
| NI12-04-74 | 21.7 | 3.6 | 0.282900 | 0.000026 | 0.001551 | 0.282895 | 4.1 | 0.9 | 7.8 | 173 |
| NI12-04-72 | 68.5 | 2.8 | 0.282774 | 0.000035 | 0.004531 | 0.282759 | -0.4 | 1.2 | 3.0 | 174 |
| NI12-04-51 | 19.0 | 3.1 | 0.282882 | 0.000026 | 0.001258 | 0.282877 | 3.4 | 0.9 | 7.4 | 186 |
| NI12-04-103 | 23.4 | 2.7 | 0.282964 | 0.000032 | 0.001798 | 0.282958 | 6.3 | 1.1 | 10.4 | 194 |
| Sample NI12-11, Shumagin Fm (55.201560°,-160.042690°) |  |  |  |  |  |  |  |  |  |  |
| NI12-11-44 | 14.5 | 3.2 | 0.282909 | 0.000035 | 0.000975 | 0.282908 | 4.4 | 1.2 | 5.9 | 72 |
| NI12-11-01 | 15.6 | 2.9 | 0.282874 | 0.000039 | 0.000977 | 0.282872 | 3.1 | 1.4 | 4.7 | 72 |
| NI12-11-29 | 9.0 | 3.2 | 0.282836 | 0.000030 | 0.000530 | 0.282835 | 1.8 | 1.1 | 3.4 | 73 |
| NI12-11-97 | 14.3 | 3.3 | 0.283002 | 0.000029 | 0.000946 | 0.283001 | 7.7 | 1.0 | 9.3 | 74 |
| NI12-11-39 | 10.6 | 3.2 | 0.282917 | 0.000022 | 0.000733 | 0.282916 | 4.7 | 0.8 | 6.3 | 75 |
| NI12-11-31 | 12.6 | 3.5 | 0.282974 | 0.000028 | 0.001022 | 0.282972 | 6.7 | 1.0 | 8.4 | 80 |
| NI12-11-35 | 10.4 | 3.2 | 0.282760 | 0.000029 | 0.000739 | 0.282759 | -0.9 | 1.0 | 0.9 | 83 |
| NI12-11-45 | 13.2 | 3.3 | 0.282877 | 0.000034 | 0.000891 | 0.282876 | 3.3 | 1.2 | 5.1 | 87 |
| NI12-11-98 | 33.3 | 3.5 | 0.282838 | 0.000031 | 0.002292 | 0.282834 | 1.9 | 1.1 | 3.7 | 88 |
| NI12-11-56 | 20.4 | 3.2 | 0.282901 | 0.000034 | 0.001430 | 0.282899 | 4.1 | 1.2 | 6.2 | 97 |
| NI12-11-36 | 10.4 | 3.8 | 0.282972 | 0.000032 | 0.000750 | 0.282969 | 6.6 | 1.1 | 9.9 | 154 |
| NI12-11-100 | 6.9 | 3.6 | 0.282862 | 0.000030 | 0.000431 | 0.282861 | 2.7 | 1.1 | 6.1 | 156 |
| NI12-11-03 | 14.1 | 3.2 | 0.282632 | 0.000038 | 0.001044 | 0.282629 | -5.4 | 1.3 | -1.9 | 164 |
| NI12-11-42 | 22.3 | 3.3 | 0.282801 | 0.000030 | 0.001553 | 0.282796 | 0.6 | 1.1 | 4.1 | 167 |
| NI12-11-20 | 30.5 | 3.0 | 0.282795 | 0.000034 | 0.002077 | 0.282789 | 0.4 | 1.2 | 3.9 | 168 |
| NI12-11-52 | 9.9 | 3.6 | 0.282884 | 0.000037 | 0.000881 | 0.282881 | 3.5 | 1.3 | 7.2 | 172 |
| NI12-11-80 | 19.7 | 2.5 | 0.282910 | 0.000031 | 0.001445 | 0.282905 | 4.4 | 1.1 | 8.2 | 176 |
| NI12-11-49 | 18.0 | 3.7 | 0.282853 | 0.000041 | 0.001259 | 0.282849 | 2.4 | 1.5 | 6.2 | 177 |
| NI12-11-96 | 9.5 | 3.1 | 0.282917 | 0.000033 | 0.000530 | 0.282915 | 4.7 | 1.2 | 8.6 | 181 |
| NI12-11-09 | 14.5 | 3.5 | 0.282829 | 0.000029 | 0.001028 | 0.282825 | 1.5 | 1.0 | 5.5 | 183 |
| NI12-11-26 | 4.0 | 3.5 | 0.281240 | 0.000035 | 0.000200 | 0.281233 | -54.6 | 1.2 | -11.6 | 1918 |
| NI12-11-48 | 2.5 | 3.4 | 0.280996 | 0.000029 | 0.000195 | 0.280986 | -63.3 | 1.0 | -0.9 | 2757 |
| Sample NI12-14, Shumagin Fm (55.083130°,-159.939410°) |  |  |  |  |  |  |  |  |  |  |
| NI12-14-41 | 15.0 | 2.7 | 0.283015 | 0.000038 | 0.000969 | 0.283013 | 8.1 | 1.3 | 9.7 | 71 |
| NI12-14-68 | 18.6 | 2.9 | 0.282952 | 0.000035 | 0.001196 | 0.282950 | 5.9 | 1.2 | 7.4 | 72 |
| NI12-14-32 | 15.5 | 2.7 | 0.283043 | 0.000030 | 0.001037 | 0.283042 | 9.1 | 1.1 | 10.7 | 72 |
| NI12-14-31 | 13.1 | 2.6 | 0.283034 | 0.000028 | 0.000917 | 0.283033 | 8.8 | 1.0 | 10.4 | 73 |
| NI12-14-48 | 16.6 | 2.4 | 0.282983 | 0.000036 | 0.001134 | 0.282981 | 7.0 | 1.3 | 8.6 | 73 |
| NI12-14-109 | 15.5 | 2.7 | 0.282996 | 0.000033 | 0.001071 | 0.282994 | 7.5 | 1.2 | 9.0 | 74 |
| NI12-14-39 | 19.2 | 2.6 | 0.283005 | 0.000032 | 0.001256 | 0.283004 | 7.8 | 1.1 | 9.4 | 74 |
| NI12-14-98 | 18.7 | 2.6 | 0.282991 | 0.000027 | 0.001205 | 0.282990 | 7.3 | 1.0 | 8.9 | 74 |
| NI12-14-112 | 13.5 | 2.8 | 0.283031 | 0.000031 | 0.000903 | 0.283029 | 8.7 | 1.1 | 10.3 | 76 |
| NI12-14-59 | 16.2 | 2.6 | 0.282961 | 0.000031 | 0.001081 | 0.282960 | 6.2 | 1.1 | 7.9 | 77 |
| NI12-14-03 | 26.7 | 2.4 | 0.283058 | 0.000042 | 0.001647 | 0.283055 | 9.7 | 1.5 | 11.5 | 88 |
| NI12-14-47 | 11.5 | 2.9 | 0.282941 | 0.000036 | 0.000766 | 0.282939 | 5.5 | 1.3 | 9.0 | 158 |
| NI12-14-102 | 8.3 | 3.2 | 0.282949 | 0.000033 | 0.000561 | 0.282947 | 5.8 | 1.2 | 9.2 | 158 |
| NI12-14-14 | 19.5 | 2.6 | 0.282907 | 0.000033 | 0.001353 | 0.282903 | 4.3 | 1.2 | 7.8 | 164 |
| NI12-14-50 | 19.3 | 2.4 | 0.282865 | 0.000034 | 0.001268 | 0.282861 | 2.8 | 1.2 | 6.3 | 165 |
| NI12-14-55 | 16.0 | 2.7 | 0.282966 | 0.000036 | 0.001205 | 0.282962 | 6.4 | 1.3 | 10.1 | 172 |
| NI12-14-113 | 80.3 | 1.8 | 0.282955 | 0.000047 | 0.004978 | 0.282938 | 6.0 | 1.7 | 9.4 | 178 |
| NI12-14-100 | 43.6 | 2.0 | 0.282909 | 0.000037 | 0.002932 | 0.282899 | 4.4 | 1.3 | 8.2 | 185 |
| NI12-14-37 | 20.2 | 4.3 | 0.283001 | 0.000029 | 0.001383 | 0.282996 | 7.6 | 1.0 | 11.6 | 187 |
| NI12-14-94 | 12.4 | 2.5 | 0.283033 | 0.000037 | 0.000738 | 0.283030 | 8.8 | 1.3 | 12.9 | 189 |
| NI12-14-05 | 15.5 | 2.8 | 0.282034 | 0.000038 | 0.000860 | 0.282010 | -26.6 | 1.3 | 5.1 | 1445 |
| NI12-14-73 | 5.1 | 3.0 | 0.281550 | 0.000030 | 0.000289 | 0.281540 | -43.7 | 1.1 | -3.9 | 1779 |
| NI12-14-02 | 23.0 | 2.7 | 0.281644 | 0.000038 | 0.001310 | 0.281598 | -40.3 | 1.3 | -0.4 | 1843 |
| NI12-14-103 | 7.9 | 2.6 | 0.281799 | 0.000039 | 0.000451 | 0.281783 | -34.9 | 1.4 | 6.9 | 1872 |
| Sample NI12-23, Shumagin Fm (55.228080°,-159.921130°) |  |  |  |  |  |  |  |  |  |  |
| NI12-23-07 | 28.5 | 3.1 | 0.283108 | 0.000027 | 0.001870 | 0.283105 | 11.4 | 1.0 | 13.0 | 73 |
| NI12-23-27 | 16.9 | 3.3 | 0.282924 | 0.000028 | 0.001228 | 0.282922 | 4.9 | 1.0 | 6.5 | 75 |
| NI12-23-75 | 8.5 | 3.0 | 0.282875 | 0.000033 | 0.000598 | 0.282874 | 3.2 | 1.2 | 4.8 | 76 |
| NI12-23-49 | 17.9 | 3.1 | 0.282951 | 0.000029 | 0.001095 | 0.282949 | 5.9 | 1.0 | 7.6 | 81 |
| NI12-23-74 | 20.4 | 3.0 | 0.282914 | 0.000027 | 0.001374 | 0.282912 | 4.6 | 1.0 | 6.4 | 84 |
| NI12-23-33 | 57.6 | 2.9 | 0.283114 | 0.000035 | 0.003189 | 0.283109 | 11.6 | 1.2 | 13.4 | 89 |
| NI12-23-22 | 24.8 | 2.8 | 0.283004 | 0.000038 | 0.001749 | 0.283001 | 7.8 | 1.4 | 9.7 | 92 |
| NI12-23-89 | 17.2 | 3.4 | 0.282705 | 0.000028 | 0.001081 | 0.282703 | -2.8 | 1.0 | -0.7 | 101 |
| NI12-23-47 | 24.5 | 2.4 | 0.282721 | 0.000035 | 0.001439 | 0.282718 | -2.3 | 1.2 | 0.1 | 112 |
| NI12-23-06 | 6.9 | 3.4 | 0.282957 | 0.000029 | 0.000432 | 0.282956 | 6.1 | 1.0 | 9.4 | 152 |
| NI12-23-60 | 36.4 | 3.4 | 0.282786 | 0.000037 | 0.002441 | 0.282779 | 0.1 | 1.3 | 3.3 | 159 |
| NI12-23-83 | 15.5 | 3.2 | 0.282854 | 0.000027 | 0.001117 | 0.282851 | 2.4 | 1.0 | 5.9 | 162 |
| NI12-23-41 | 8.9 | 3.8 | 0.282810 | 0.000027 | 0.000625 | 0.282808 | 0.9 | 1.0 | 4.4 | 163 |
| NI12-23-97 | 16.3 | 3.1 | 0.282751 | 0.000032 | 0.001212 | 0.282747 | -1.2 | 1.1 | 2.4 | 167 |
| NI12-23-29 | 7.9 | 3.2 | 0.282852 | 0.000037 | 0.000548 | 0.282851 | 2.4 | 1.3 | 6.0 | 167 |
| NI12-23-35 | 16.5 | 3.3 | 0.282949 | 0.000032 | 0.000918 | 0.282946 | 5.8 | 1.1 | 9.6 | 174 |
| NI12-23-85 | 13.0 | 2.7 | 0.282980 | 0.000034 | 0.000941 | 0.282977 | 6.9 | 1.2 | 10.7 | 174 |
| NI12-23-69 | 15.3 | 3.1 | 0.283008 | 0.000034 | 0.001094 | 0.283004 | 7.9 | 1.2 | 11.8 | 181 |
| NI12-23-44 | 40.8 | 2.4 | 0.282583 | 0.000030 | 0.002624 | 0.282574 | -7.1 | 1.1 | -3.2 | 193 |
| NI12-23-04 | 25.3 | 2.6 | 0.282536 | 0.000044 | 0.001743 | 0.282523 | -8.8 | 1.6 | -0.1 | 413 |
| NI12-23-107 | 13.1 | 2.7 | 0.281409 | 0.000036 | 0.000736 | 0.281382 | -48.7 | 1.3 | -6.3 | 1918 |
| NI12-23-106 | 14.1 | 3.0 | 0.281499 | 0.000036 | 0.000748 | 0.281470 | -45.5 | 1.3 | 0.7 | 2085 |
| Sample RB12-02, Orca Fm (60.00947, -149.32280) |  |  |  |  |  |  |  |  |  |  |
| RB12-02-30 | 24.7 | 5.0 | 0.282772 | 0.000026 | 0.001454 | 0.282771 | -0.4 | 0.9 | 0.9 | 62 |
| RB12-02-70 | 24.7 | 3.2 | 0.282797 | 0.000036 | 0.001517 | 0.282795 | 0.4 | 1.3 | 1.8 | 63 |
| RB12-02-17 | 17.4 | 3.4 | 0.282639 | 0.000028 | 0.001020 | 0.282638 | -5.2 | 1.0 | -3.8 | 65 |
| RB12-02-63 | 11.8 | 4.4 | 0.282795 | 0.000031 | 0.000736 | 0.282794 | 0.3 | 1.1 | 1.8 | 66 |
| RB12-02-47 | 6.7 | 4.1 | 0.282850 | 0.000034 | 0.000476 | 0.282850 | 2.3 | 1.2 | 3.8 | 67 |
| RB12-02-66 | 12.8 | 3.6 | 0.282740 | 0.000038 | 0.000849 | 0.282739 | -1.6 | 1.3 | -0.1 | 69 |
| RB12-02-87 | 5.8 | 3.5 | 0.282861 | 0.000035 | 0.000332 | 0.282861 | 2.7 | 1.2 | 4.2 | 69 |
| RB12-02-14 | 22.3 | 4.8 | 0.282793 | 0.000032 | 0.001473 | 0.282791 | 0.3 | 1.1 | 1.8 | 70 |
| RB12-02-80 | 17.6 | 3.9 | 0.282797 | 0.000031 | 0.001051 | 0.282796 | 0.4 | 1.1 | 2.0 | 72 |
| RB12-02-27 | 24.7 | 5.1 | 0.282911 | 0.000030 | 0.001828 | 0.282909 | 4.5 | 1.0 | 6.0 | 74 |
| RB12-02-18 | 17.7 | 3.5 | 0.282725 | 0.000037 | 0.001092 | 0.282723 | -2.1 | 1.3 | -0.5 | 76 |
| Sample RB12-04, Orca Fm (59.97959, -149.29672) |  |  |  |  |  |  |  |  |  |  |
| RB12-04-53 | 18.0 | 3.2 | 0.282768 | 0.000029 | 0.001077 | 0.282767 | -0.6 | 1.0 | 0.8 | 65 |
| RB12-04-26 | 8.4 | 3.3 | 0.282876 | 0.000027 | 0.000521 | 0.282876 | 3.2 | 1.0 | 4.8 | 70 |
| RB12-04-06 | 12.3 | 3.4 | 0.282700 | 0.000038 | 0.000830 | 0.282699 | -3.0 | 1.3 | -1.5 | 70 |
| RB12-04-78 | 10.5 | 3.4 | 0.282811 | 0.000031 | 0.000645 | 0.282811 | 0.9 | 1.1 | 2.5 | 71 |
| RB12-04-25 | 14.0 | 3.3 | 0.282923 | 0.000029 | 0.000886 | 0.282922 | 4.9 | 1.0 | 6.5 | 73 |
| RB12-04-52 | 15.4 | 3.1 | 0.282906 | 0.000040 | 0.001028 | 0.282905 | 4.3 | 1.4 | 5.9 | 73 |
| RB12-04-07 | 24.1 | 3.2 | 0.282546 | 0.000031 | 0.001524 | 0.282544 | -8.4 | 1.1 | -6.9 | 73 |
| RB12-04-28 | 60.2 | 2.8 | 0.282709 | 0.000040 | 0.003422 | 0.282704 | -2.7 | 1.4 | -1.2 | 74 |
| RB12-04-02 | 14.5 | 3.3 | 0.282858 | 0.000033 | 0.000949 | 0.282857 | 2.6 | 1.2 | 4.2 | 74 |
| RB12-04-33 | 11.1 | 3.0 | 0.283000 | 0.000027 | 0.000828 | 0.282999 | 7.6 | 1.0 | 9.4 | 82 |
| RB12-04-77 | 16.7 | 3.6 | 0.282666 | 0.000030 | 0.001014 | 0.282654 | -4.2 | 1.1 | 9.2 | 618 |
| RB12-04-107 | 16.6 | 4.1 | 0.282265 | 0.000034 | 0.000992 | 0.282244 | -18.4 | 1.2 | 5.2 | 1085 |
| RB12-04-29 | 6.8 | 3.0 | 0.281716 | 0.000026 | 0.000410 | 0.281703 | -37.8 | 0.9 | 0.6 | 1726 |
| RB12-04-111 | 9.9 | 4.4 | 0.281328 | 0.000035 | 0.000571 | 0.281309 | -51.5 | 1.2 | -11.9 | 1788 |
| RB12-04-109 | 12.6 | 3.1 | 0.281432 | 0.000030 | 0.000741 | 0.281402 | -47.9 | 1.1 | -2.0 | 2073 |
| RB12-04-106 | 21.4 | 3.7 | 0.281567 | 0.000039 | 0.001198 | 0.281520 | -43.1 | 1.4 | 2.3 | 2081 |
| RB12-04-112 | 15.3 | 3.0 | 0.280858 | 0.000027 | 0.000863 | 0.280817 | -68.1 | 0.9 | -12.0 | 2538 |
| RB12-04-102 | 9.9 | 3.4 | 0.281079 | 0.000031 | 0.000553 | 0.281051 | -60.3 | 1.1 | -2.3 | 2597 |