## Zircon Lu-Hf isotopic analyses
Table S7. LA-MC-ICP-MS Lu-Hf isotopic analyses on zircon - Metadata
Laboratory and Sample Preparation
Laboratory name | Dept of Earth Science, ETH Zurich
Sample type/mineral | Zircon grains
Sample preparation | Conventional mineral separation, 1 inch resin mount, 1 mm polish to finish
Imaging | CL, FEI Quanta200F, 0.2-30 kV
Laser ablation system
Make, Model and type | ASI (Resonetics) Resolution S155
Ablation cell and volume | Laurin Technic, dual-volume S-155 ablation cell, effective volume ca. 1 cm3
Laser wavelength (nm) | 193 nm
Pulse width (ns) | 25 ns
Fluence (J cm-2) | ca. 4.0 J cm-2
Repetition rate (Hz) | 5 Hz
Spot diameter (mm) | 50 mm
Ablation duration (s) | 40 s
Ablation pit depth / ablation rate | ca. 25 mm pit depth, equivalent to average 0.13 μm/pulse
Sampling mode / pattern | Static spot ablation
Carrier gas | 100% He in the cell, Ar make-up gas combined in ablation funnel
Cell carrier gas flow (l min-1) | 0.37 l min-1
ICP-MS Instrument
Make, Model and type | Nu Plasma II, Sector-field multi collector ICP-MS
Sample introduction | Direct
RF power (W) | 1350 W
Make-up gas flow (l min-1) | 0.93 l min-1 Ar (tuned daily)
Detection system | Multiple Faraday cups, static mode
Masses measured (amu) with corresponding cup in brackets | 171 (L4), 173 (L2), 175 (Ax), 176 (H1), 177 (H2), 178 (H3), 179 (H4), 180 (H5), 181 (H6)
Integration time | 0.5 s
Data Processing
Gas blank | ca. 40s
Mass discrimination | For Hf and Yb isotopes : internal correction using an exponential law, normalized to the natural abundance ratios 173Yb/171Yb and 179Hf/177Hf of Chu et al. (2002) ; the correction factor for Yb isotopes has been applied to Lu isotopes
Interference correction | 176Yb and 176Lu on 176Hf corrected using the natural abundance ratios of 176Yb/173Yb = 0.79502 and 176Lu/175Lu = 0.02656
Reference Material info | GJ-1 (Morel et al. 2008)
Plešovice (Slama et al. 2008)
QGNG (Woodhead et al. 2004)
Temora (Woodhead and Hergt 2005)
Mud Tank (Woodhead and Hergt 2005)
Data processing package used | Iolite 2.5, in-house data reduction scheme for Hf isotopes
Uncertainty level and propagation | Measured isotopic ratios are quoted at 2σ absolute; for initial isotopic ratios, propagation is by quadratic addition of 2σ within-run uncertainty and average 2 S.D. reproducibility of the initial Hf isotopic ratios of validation reference materials
Quality control / Validation (quoted uncertainties are on the last significant digits) | GJ-1 – Average 176Hf/177Hf = 0.282013 ± 28 (2 S.D.; n = 15) (reference value = 0.282000 ± 23)
Mud Tank – Average 176Hf/177Hf = 0.282496 ± 38 (2 S.D.; n = 32) (reference value = 0.282507 ± 6)
Plešovice – Average 176Hf/177Hf = 0.282492 ± 31 (2 S.D.; n = 15) (reference value = 0.282482 ± 12)
Temora – Average 176Hf/177Hf = 0.282685 ± 25 (2 S.D.; n = 30) (reference value = 0.282686 ± 8)
QGNG – Average 176Hf/177Hf = 0.281619 ± 25 (2 S.D.; n = 15) (reference value = 0.281612 ± 4)
Bouvier, A., Vervoort, J.D. and Patchett, P.J. (2008) The Lu-Hf and Sm-Nd isotopic composition of CHUR: constraints from unequilibrated chondrites and implications for the bulk composition of terrestrial planets. Earth and Planetary Science Letters 219, 311.
Chu, N.C., et al. (2002) Hf isotope ratio analysis using multi-collector inductively coupled plasma mass spectrometry: an evaluation of isobaric interference corrections. Journal of Analytical Atomic Spectrometry 17, 1567-1574
Morel, M.L.A., et al. (2008) Hafnium isotope characterization of the GJ-1 zircon reference material by solution and laser-ablation MC-ICPMS. Chemical Geology 53, 243-275.
Scherer, E., Münker, C. and Mezger, K. (2001) Calibration of the Lutetium-Hafnium Clock. Science 293, 683-686.
Woodhead, J.D. and Hergt, J.M. (2005) A preliminary appraisal of seven natural zircon reference materials for in situ Hf isotope determination. Geostandards and Geoanalytical Research 29, 183-195.
Woodhead, J.D., et al. (2004) Zircon Hf-isotope analysis with an excimer laser, depth profiling, ablation of complex geometries, and concomitant age estimation. Chemical Geology 209, 121–135.