Appendix A

The analytical method is summarized in table 1 of the main body text, following the reporting template of Horstwood et al. (2016). The details are below.

Configuration

In situ zircon U–Pb dating was carried out using an Agilent 8900 Triple Quadrupole ICP-MS (ICP-MS/MS; Agilent, Santa Clara, CA, US) coupled to a Teledyne CETAC Analyte Excite Plus laser ablation system (Teledyne CETAC, Omaha, NE, US), that utilizes a 193 nm ArF excimer laser, at the Department of Earth Sciences, National Taiwan Normal University. Samples were ablated in He carrier gas within a HelEx II sample cell. The ablated sample aerosol and He carrier gas were mixed with Ar make-up gas in a co-axial mixing adapter directly connected to the ICP torch and then transported to the ICP-MS/MS.

Optimizing of ICP-MS/MS

The U–Th–Pb isotope analyses were conducted in MS/MS mode. The ICP-MS/MS parameters were first adjusted in no-gas mode (with no NH3 reaction and He collision gases in a collision/reaction cell; NH3 reaction gas referring to a mixture of 10% NH3 and 90% He gases); tuned for a robust plasma to minimize elemental fractionations, performing a line scan on NIST SRM 612 glass reference material to yield U/Th ratios close to unity (typically U/Th = 0.99; Guillong & Gunther, 2002) and low oxide production rates (typically ThO/Th < 0.02%). The parameters were then optimized in NH3 reaction gas mode; tuned to minimize isobaric interference of 204Hg on 204Pb through a gas-phase charge transfer reaction with NH3 reaction gas in the collision/reaction cell (Woods, 2017), as well as to maximize sensitivity for Pb and U, while maintaining a robust plasma

The total mass sweep duration, fs, was 0.2440 s (= ~4.1 Hz) which is short enough to resolve down-hole variation in U/Pb and Pb/Pb ratios but long enough to minimized temporal variations in signal intensity (Van Malderen et al., 2018). Analyzed isotopes and dwell times for each isotope were as follows: 202Hg [40 ms], 204Pb [50 ms], 206Pb [25 ms], 207Pb [35 ms], 208Pb [10 ms], 232Th [10 ms], 247Th-NH [10 ms], 238U [15 ms] and 253U-NH [15 ms]. The 202Hg was measured on-mass to monitor and correct the isobaric interference of 204Hg on 204Pb. All Pb isotopes were measured on-mass as Pb does not react with NH3 gas. The 238U and 232Th were measured on-mass to use for estimating of ages and concentrations although some of U and Th react with NH3 gas to form a series of reaction products (e.g. U-NH, U-NH2, U-NH(NH3)), whereas the 247Th-NH and 253U-NH were measured to monitor the reactions.

Optimizing of laser ablation system

Helium carrier gas flow was set 0.5 l/min for an outer chamber (Cell body; MFC1) and 0.5 l/min for an inner chamber (Cup; MFC2) of the sample cell which minimized aerosol dispersion (Van Malderen et al., 2018). This led to c. 210 ms of the response duration to a single pulse on this system (FW0.05M, the full peak width of the signal at 5% of the maximum peak intensity). The signal returned to baseline (0 counts) by c. 230 ms. Individual pulses were only marginally above background (FW0.05M) at 4 Hz of the laser repetition rate.

The fluence of laser was 2.00 J/cm2 which is higher than an ablation threshold on the LA-ICP-MS/MS system for NIST SRM 610 glass and 91500 zircon reference materials but low enough to minimize fractional evaporation of volatile elements due to melting on crater walls (Garcia et al., 2009). The laser spot size was 25 μm which is smaller than a target area but yielded intensity enough to give better precision and accuracy for zircon reference materials. The laser repetition rate, f, was 17 Hz so that the pulsed laser signal is significantly undersampled and low-frequency spectral skew artefacts is suppressed ((f/fs = ~4.2; Van Malderen et al., 2018). The total shot count of 400 pulses likely produces a pit of ~20 μm in depth, assuming a few dozen nm in depth per pulse, which does not exceed a crater-to-depth ratio of 1 for minimizing down-hole fractionation of U–Pb (Horn et al., 2000; Woodhead et al., 2004).

A total duration for the analysis, consisting of a 1-shot pre-ablation (4 sec), warming-up laser (30 sec; baseline measurement) and ablation (~24 sec; sample measurement) in order, was ~58 sec. A duration of 30 sec for pausing between analyses was sufficient for washout, moving to next spot and stabilization of the gas flow in the sample cell. The analytical spots were preset and then the analyses were automatically conducted with a bidirectional signal function between the LA and ICP-MS/MS. Forty analyses per hour are possible in this system.

Data processing

91500 zircon and NIST SRM 610 glass reference materials were used as a primary for an external calibration of U/Pb and Pb/Pb isotope ratios, respectively. Data reduction was conducted off-line, using an in-house excel spreadsheet for U–Th–Pb age data reduction (Hattori et al., 2017; Sakata et al., 2014). Following correction for gas blank, the laser-induced elemental fraction (LIEF) and mass bias of the ICP-MS/MS were corrected by normalizing the data to the reference materials. Using the Hg-corrected 204Pb, a correction for common Pb was made on the basis of the 204Pb method (Stern, 1997) and the model for the common Pb compositions (Stacey & Kramers, 1975).

Analyses were conducted across three sessions. During the analyses, Plešovice (Sláma et al., 2008), AS3 (Paces & Miller, 1993), and R33 (Black et al., 2004) zircons were used as secondary for data quality assessment (Appendix B). The weighted-mean age of 206Pb/238U for Plešovice zircon was determined in this study yielded 335.0 ± 1.7 Ma (2σ; n = 37; MSWD = 4.2) and is consistent with the age of 337.13 ± 0.37 Ma reported by Sláma et al. (2008). The 207Pb/206Pb weighted-mean age for AS3 zircon determined in this study yielded 1093 ± 13 Ma (2σ; n = 45; MSWD = 0.42) and is consistent with the age of 1099.1 ± 0.5 Ma reported by Paces and Miller (1993). The 206Pb/238U weighted-mean age for R33 zircon determined in this study yielded 423.1 ± 2.7 Ma (2σ; n = 38; MSWD = 0.47) and is consistent with the age of 419.26 ± 0.39 Ma reported by Black et al. (2004).

References

Black, L. P., Kamo, S. L., Allen, C. M., Davis, D. W., Aleinikoff, J. N., Valley, J. W., Mindil, R., Campbell, I. H., Korsch, R. J., Williams, I. S., & Foudoulis, C. (2004). Improved 206Pb/238U microprobe geochronology by the monitoring of a trace-element-related matrix effect; SHRIMP, ID-TIMS, ELA-ICP-MS and oxygen isotope documentation for a series of zircon standards. Chemical Geology, 205, 115-140.

Garcia C. C., Lindner H., & Niemax K. (2009). Laser ablation inductively coupled plasma-mass spectrometry – Current shortcomings, practical suggestions for improving performance, and experiments to guide future development. Journal of Analytical Atomic Spectrometry, 24, 14–26.

Guillong, M., & Gunther, D. (2002). Effect of particle size distribution on ICP-induced elemental fractionation in laser ablation-inductively coupled plasma-mass spectrometry. Journal of Analytical Atomic Spectrometry, 17, 831–837.

Hattori, K., Sakata, S., Tanaka, M., Orihashi, Y., & Hirata, T. (2017). U–Pb age determination for zircons using laser ablation-ICP-mass spectrometry equipped with six multiple-ion counting detectors. Journal of Analytical Atomic Spectrometry, 32, 88–95.

Horn, I., Rudnick, R. L., & Mcdonough, W. F. (2000). Precise elemental and isotope ratio determination by simultaneous solution nebulization and laser ablation-ICP-MS: application to U–Pb geochronology. Chemical Geology, 164, 281–301.

Horstwood M. S. A., Kosler J., Gehrels G., Jackson S. E., McLean N. M., Paton C., Pearson N. J., Sircombe K., Sylvester P., Vermeesch P., Bowring J. F., Condon D. J., & Schoene B. (2016). Community-derived standards for LA-ICP-MS U-(Th-)Pb geochronology – Uncertainty propagation, age interpretation and data reporting. Geostandards and Geoanalytical Research, 40, 311–332.

Paces, J. B., & Miller, J. D. Jr. (1993). Precise U–Pb ages of Duluth complex and related mafic intrusions, Northeastern Minnesota: geochronological insights to physical, petrogenic, paleomagnetic, and Tectonomagmatic processes associated with the 1.1 Ga midcontinent rift system. Journal of Geophysical Research, 98, 13997–14013.

Sakata, S., Hattori, K., Iwano, H., Yokoyama, T. D., Danhara, T., & Hirata, T. (2014). Determination of U–Pb ages for young zircons using laser ablation-ICP mass spectrometry coupled with an ion detection attenuator device. Geostandards and Geoanalytical Research, 38, 409–420.

Sláma, J., Košler, J., Condon, D. J., Crowley, J. L., Gerdes, A., Hanchar, J. M., Horstwood, M. S. A., Morris, G. A., Nasdala, L., Norberg, N., Schaltegger, U., Schoene, B., Tubrett, M. N., & Whitehouse, M. J., 2008, Plešovice zircon — A new natural reference material for U–Pb and Hf isotopic microanalysis. Chemical Geology, 249, 1–35.

Stacey, J. S., & Kramers, J. D. (1975). Approximation of terrestrial lead isotope evolution by a two-stage model. Earth and Planetary Science Letters, 26, 207–221.

Stern, R. A. (1997). The GSC sensitive high ion microprobe (SHRIMP): analytical techniques of zircon U–Th–Pb age determinations and performance evaluation. Geological Survey of Canada Current Research, Radiogenic Age and Isotopic Studies: Report, 10, 1–32.

Van Malderen, S. J. M., van Elteren, J. T., Selih, V. S., & Vanhaecke, F. (2018). Considerations on data acquisition in laser ablation-inductively coupled plasma-mass spectrometry with low-dispersion interfaces. Spectrochimica Acta Part B, 140, 29–34.

Woodhead, J., Hergt, J., Shelley, M., Eggins, S., & Kemp, R. (2004). Zircon Hf-isotope analysis with an excimer laser, depth profiling, ablation of complex geometries, and concomitant age estimation. Chemical Geology, 209, 121–135.

Woods, G. (2017). Lead isotope analysis: removal of 204Hg isobaric interference on 204Pb using ICP-QQQ MS/MS reaction cell: Handbook of ICP-QQQ Applications using the Agilent 8800 and 8900 3rd edition (141 pp.), 106–108.